## Summary
IA builds (DISIS-2023-001, Table 5) to model in the base and project cases, by reach from the study POIs
nodes = fewest buses crossed ¦ ¦Z¦ = smallest summed branch ¦R+jX¦ pu, 100 MVA (z6_poi_distance.py on DIS2201-25SP-G03-CQ_Mitigated.sav). Area from TO -- confirm in the case.
Reach | Builds | Total MW | GEN numbers | New vs previous reach
within 5 nodes | 5 | 1050 | GEN-2023-173, GEN-2023-172, GEN-2023-107, GEN-2023-099, GEN-2023-171 | -
within 6 nodes | 6 | 1250 | GEN-2023-173, GEN-2023-172, GEN-2023-107, GEN-2023-099, GEN-2023-171, GEN-2023-033 | GEN-2023-033
within 7 nodes | 7 | 1400 | GEN-2023-173, GEN-2023-172, GEN-2023-107, GEN-2023-099, GEN-2023-171, GEN-2023-033, GEN-2023-170 | GEN-2023-170
within 8 nodes | 7 | 1400 | GEN-2023-173, GEN-2023-172, GEN-2023-107, GEN-2023-099, GEN-2023-171, GEN-2023-033, GEN-2023-170 | none

## Within 5 nodes
Within 5 nodes of any study project -- 5 builds, 1050 MW
Green = within 5 nodes of that project.
# | GEN number | Cluster | County | State | TO at POI | Area (from TO) | POI bus | POI bus name | kV | Substation | Generation type | Service type | Capacity MW | Max summer MW | In-service date | COD | Near projects (nodes) | SantaFe nodes | SantaFe ¦Z¦ pu | EastFork nodes | EastFork ¦Z¦ pu | IronStar nodes | IronStar ¦Z¦ pu | EmpirePrairie nodes | EmpirePrairie ¦Z¦ pu
1 | GEN-2023-173 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 100 | 100 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
2 | GEN-2023-172 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 200 | 200 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
3 | GEN-2023-107 | DISIS-2023-001 | Finney/Kearny | KS | SUNC | 534 | 531465 | SETAB 7 | 345 | Setab 345 kV | Wind | ER | 300 | 300 | 1/5/2030 | 12/31/2030 | SantaFe 3, EastFork 3 | 3 | 0.0427 | 3 | 0.1407 | 6 | 0.0641 | 12 | 0.2957
4 | GEN-2023-099 | DISIS-2023-001 | Jackson | KS | WERE | 536 | 532766 | JEC N 7 | 345 | Jeffery Energy Center 345 kV | Solar | ER | 300 | 300 | 8/30/2030 | 12/31/2030 | EmpirePrairie 5 | 10 | 0.1996 | 15 | 0.383 | 8 | 0.1782 | 5 | 0.0606
5 | GEN-2023-171 | DISIS-2023-001 | Jackson | MO | INDN | 545 | 548814 | SUB M-161 | 161 | Sub M 161 kV | Battery/Storage | ER/NR | 150 | 150 | 1/2/2028 | 1/6/2028 | EmpirePrairie 5 | 17 | 0.3571 | 18 | 0.5287 | 16 | 0.3357 | 5 | 0.1364
TOTAL
Not in reach: GEN-2023-033, GEN-2023-170, GEN-2023-037, GEN-2023-034, GEN-2023-061

## Within 6 nodes
Within 6 nodes of any study project -- 6 builds, 1250 MW
Green = within 6 nodes of that project.
# | GEN number | Cluster | County | State | TO at POI | Area (from TO) | POI bus | POI bus name | kV | Substation | Generation type | Service type | Capacity MW | Max summer MW | In-service date | COD | Near projects (nodes) | SantaFe nodes | SantaFe ¦Z¦ pu | EastFork nodes | EastFork ¦Z¦ pu | IronStar nodes | IronStar ¦Z¦ pu | EmpirePrairie nodes | EmpirePrairie ¦Z¦ pu
1 | GEN-2023-173 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 100 | 100 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
2 | GEN-2023-172 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 200 | 200 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
3 | GEN-2023-107 | DISIS-2023-001 | Finney/Kearny | KS | SUNC | 534 | 531465 | SETAB 7 | 345 | Setab 345 kV | Wind | ER | 300 | 300 | 1/5/2030 | 12/31/2030 | SantaFe 3, EastFork 3, IronStar 6 | 3 | 0.0427 | 3 | 0.1407 | 6 | 0.0641 | 12 | 0.2957
4 | GEN-2023-099 | DISIS-2023-001 | Jackson | KS | WERE | 536 | 532766 | JEC N 7 | 345 | Jeffery Energy Center 345 kV | Solar | ER | 300 | 300 | 8/30/2030 | 12/31/2030 | EmpirePrairie 5 | 10 | 0.1996 | 15 | 0.383 | 8 | 0.1782 | 5 | 0.0606
5 | GEN-2023-171 | DISIS-2023-001 | Jackson | MO | INDN | 545 | 548814 | SUB M-161 | 161 | Sub M 161 kV | Battery/Storage | ER/NR | 150 | 150 | 1/2/2028 | 1/6/2028 | EmpirePrairie 5 | 17 | 0.3571 | 18 | 0.5287 | 16 | 0.3357 | 5 | 0.1364
6 | GEN-2023-033 | DISIS-2023-001 | Clay | MO | WERE | 536 | 541248 | LBRTYST5 | 161 | Liberty South 161 kV | Battery/Storage | ER/NR | 200 | 200 | 4/15/2028 | 1/7/2028 | EmpirePrairie 6 | 18 | 0.3598 | 19 | 0.5314 | 17 | 0.3384 | 6 | 0.1391
TOTAL
Not in reach: GEN-2023-170, GEN-2023-037, GEN-2023-034, GEN-2023-061

## Within 7 nodes
Within 7 nodes of any study project -- 7 builds, 1400 MW
Green = within 7 nodes of that project.
# | GEN number | Cluster | County | State | TO at POI | Area (from TO) | POI bus | POI bus name | kV | Substation | Generation type | Service type | Capacity MW | Max summer MW | In-service date | COD | Near projects (nodes) | SantaFe nodes | SantaFe ¦Z¦ pu | EastFork nodes | EastFork ¦Z¦ pu | IronStar nodes | IronStar ¦Z¦ pu | EmpirePrairie nodes | EmpirePrairie ¦Z¦ pu
1 | GEN-2023-173 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 100 | 100 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
2 | GEN-2023-172 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 200 | 200 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
3 | GEN-2023-107 | DISIS-2023-001 | Finney/Kearny | KS | SUNC | 534 | 531465 | SETAB 7 | 345 | Setab 345 kV | Wind | ER | 300 | 300 | 1/5/2030 | 12/31/2030 | SantaFe 3, EastFork 3, IronStar 6 | 3 | 0.0427 | 3 | 0.1407 | 6 | 0.0641 | 12 | 0.2957
4 | GEN-2023-099 | DISIS-2023-001 | Jackson | KS | WERE | 536 | 532766 | JEC N 7 | 345 | Jeffery Energy Center 345 kV | Solar | ER | 300 | 300 | 8/30/2030 | 12/31/2030 | EmpirePrairie 5 | 10 | 0.1996 | 15 | 0.383 | 8 | 0.1782 | 5 | 0.0606
5 | GEN-2023-171 | DISIS-2023-001 | Jackson | MO | INDN | 545 | 548814 | SUB M-161 | 161 | Sub M 161 kV | Battery/Storage | ER/NR | 150 | 150 | 1/2/2028 | 1/6/2028 | EmpirePrairie 5 | 17 | 0.3571 | 18 | 0.5287 | 16 | 0.3357 | 5 | 0.1364
6 | GEN-2023-033 | DISIS-2023-001 | Clay | MO | WERE | 536 | 541248 | LBRTYST5 | 161 | Liberty South 161 kV | Battery/Storage | ER/NR | 200 | 200 | 4/15/2028 | 1/7/2028 | EmpirePrairie 6 | 18 | 0.3598 | 19 | 0.5314 | 17 | 0.3384 | 6 | 0.1391
7 | GEN-2023-170 | DISIS-2023-001 | Chariton | MO | WERE | 536 | 543062 | SALSBRY5 | 161 | Salisbury 161 kV | Battery/Storage | ER | 150 | 150 | 1/2/2028 | 1/6/2028 | EmpirePrairie 7 | 18 | 0.381 | 20 | 0.5643 | 16 | 0.3596 | 7 | 0.1798
TOTAL
Not in reach: GEN-2023-037, GEN-2023-034, GEN-2023-061

## Within 8 nodes
Within 8 nodes of any study project -- 7 builds, 1400 MW
Green = within 8 nodes of that project.
# | GEN number | Cluster | County | State | TO at POI | Area (from TO) | POI bus | POI bus name | kV | Substation | Generation type | Service type | Capacity MW | Max summer MW | In-service date | COD | Near projects (nodes) | SantaFe nodes | SantaFe ¦Z¦ pu | EastFork nodes | EastFork ¦Z¦ pu | IronStar nodes | IronStar ¦Z¦ pu | EmpirePrairie nodes | EmpirePrairie ¦Z¦ pu
1 | GEN-2023-173 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 100 | 100 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
2 | GEN-2023-172 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 200 | 200 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
3 | GEN-2023-107 | DISIS-2023-001 | Finney/Kearny | KS | SUNC | 534 | 531465 | SETAB 7 | 345 | Setab 345 kV | Wind | ER | 300 | 300 | 1/5/2030 | 12/31/2030 | SantaFe 3, EastFork 3, IronStar 6 | 3 | 0.0427 | 3 | 0.1407 | 6 | 0.0641 | 12 | 0.2957
4 | GEN-2023-099 | DISIS-2023-001 | Jackson | KS | WERE | 536 | 532766 | JEC N 7 | 345 | Jeffery Energy Center 345 kV | Solar | ER | 300 | 300 | 8/30/2030 | 12/31/2030 | IronStar 8, EmpirePrairie 5 | 10 | 0.1996 | 15 | 0.383 | 8 | 0.1782 | 5 | 0.0606
5 | GEN-2023-171 | DISIS-2023-001 | Jackson | MO | INDN | 545 | 548814 | SUB M-161 | 161 | Sub M 161 kV | Battery/Storage | ER/NR | 150 | 150 | 1/2/2028 | 1/6/2028 | EmpirePrairie 5 | 17 | 0.3571 | 18 | 0.5287 | 16 | 0.3357 | 5 | 0.1364
6 | GEN-2023-033 | DISIS-2023-001 | Clay | MO | WERE | 536 | 541248 | LBRTYST5 | 161 | Liberty South 161 kV | Battery/Storage | ER/NR | 200 | 200 | 4/15/2028 | 1/7/2028 | EmpirePrairie 6 | 18 | 0.3598 | 19 | 0.5314 | 17 | 0.3384 | 6 | 0.1391
7 | GEN-2023-170 | DISIS-2023-001 | Chariton | MO | WERE | 536 | 543062 | SALSBRY5 | 161 | Salisbury 161 kV | Battery/Storage | ER | 150 | 150 | 1/2/2028 | 1/6/2028 | EmpirePrairie 7 | 18 | 0.381 | 20 | 0.5643 | 16 | 0.3596 | 7 | 0.1798
TOTAL
Not in reach: GEN-2023-037, GEN-2023-034, GEN-2023-061

## All Table 5
All 10 Table 5 builds -- distance from each study POI
# | GEN number | Cluster | County | State | TO at POI | Area (from TO) | POI bus | POI bus name | kV | Substation | Generation type | Service type | Capacity MW | Max summer MW | In-service date | COD | Near projects (nodes) | SantaFe nodes | SantaFe ¦Z¦ pu | EastFork nodes | EastFork ¦Z¦ pu | IronStar nodes | IronStar ¦Z¦ pu | EmpirePrairie nodes | EmpirePrairie ¦Z¦ pu
1 | GEN-2023-173 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 100 | 100 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
2 | GEN-2023-172 | DISIS-2023-001 | Kearny | KS | SUNC | 534 | 531449 | HOLCOMB7 | 345 | Holcomb 345 kV | Wind | ER/NR | 200 | 200 | 1/9/2027 | 12/31/2029 | SantaFe 2, EastFork 4, IronStar 5 | 2 | 0.0234 | 4 | 0.16 | 5 | 0.0448 | 13 | 0.2764
3 | GEN-2023-107 | DISIS-2023-001 | Finney/Kearny | KS | SUNC | 534 | 531465 | SETAB 7 | 345 | Setab 345 kV | Wind | ER | 300 | 300 | 1/5/2030 | 12/31/2030 | SantaFe 3, EastFork 3, IronStar 6 | 3 | 0.0427 | 3 | 0.1407 | 6 | 0.0641 | 12 | 0.2957
4 | GEN-2023-099 | DISIS-2023-001 | Jackson | KS | WERE | 536 | 532766 | JEC N 7 | 345 | Jeffery Energy Center 345 kV | Solar | ER | 300 | 300 | 8/30/2030 | 12/31/2030 | IronStar 8, EmpirePrairie 5 | 10 | 0.1996 | 15 | 0.383 | 8 | 0.1782 | 5 | 0.0606
5 | GEN-2023-171 | DISIS-2023-001 | Jackson | MO | INDN | 545 | 548814 | SUB M-161 | 161 | Sub M 161 kV | Battery/Storage | ER/NR | 150 | 150 | 1/2/2028 | 1/6/2028 | EmpirePrairie 5 | 17 | 0.3571 | 18 | 0.5287 | 16 | 0.3357 | 5 | 0.1364
6 | GEN-2023-033 | DISIS-2023-001 | Clay | MO | WERE | 536 | 541248 | LBRTYST5 | 161 | Liberty South 161 kV | Battery/Storage | ER/NR | 200 | 200 | 4/15/2028 | 1/7/2028 | EmpirePrairie 6 | 18 | 0.3598 | 19 | 0.5314 | 17 | 0.3384 | 6 | 0.1391
7 | GEN-2023-170 | DISIS-2023-001 | Chariton | MO | WERE | 536 | 543062 | SALSBRY5 | 161 | Salisbury 161 kV | Battery/Storage | ER | 150 | 150 | 1/2/2028 | 1/6/2028 | EmpirePrairie 7 | 18 | 0.381 | 20 | 0.5643 | 16 | 0.3596 | 7 | 0.1798
8 | GEN-2023-037 | DISIS-2023-001 | Wyandotte | KS | KACY | 542 | 546653 | NEARMAN5 | 161 | Nearman 161 kV | Battery/Storage | ER/NR | 200 | 200 | 4/15/2028 | 1/7/2028 |  | 17 | 0.3684 | 22 | 0.5517 | 15 | 0.347 | 9 | 0.1908
9 | GEN-2023-034 | DISIS-2023-001 | Sedgwick | KS | WERE | 536 | 533073 | WACO N 4 | 138 | Clear Water - Waco 138 kV line | Solar | ER/NR | 130 | 130 | 5/24/2026 | 1/9/2026 |  | 12 | 0.2757 | 18 | 0.459 | 10 | 0.2543 | 15 | 0.3138
10 | GEN-2023-061 | DISIS-2023-001 | Jasper | MO | SWPA | 515 | 505488 | CARTHAG5 | 161 | Carthage 161 kV | Battery/Storage | ER/NR | 100 | 100 | 9/30/2027 | 12/31/2029 |  | 18 | 0.4046 | 24 | 0.5879 | 16 | 0.3832 | 16 | 0.3468